# Application Tabs - Detailed Guide

## Overview

The CAESER Water Levels Monitoring System is organized into five main functional tabs, each designed for specific aspects of water level data management and analysis.

## 🗂️ Database Tab

### Purpose

Manage well locations, visualize monitoring networks, and configure database settings.

### Key Features

#### Interactive Map Visualization

- Real-time Well Locations: View all monitoring wells on an interactive map

- Data Overlay: Color-coded indicators showing data availability and status

- Zoom and Pan: Navigate large monitoring networks efficiently

- Well Selection: Click wells for detailed information and quick access

#### Database Management

- Local vs Cloud: Switch between local SQLite and cloud-synchronized databases

- Database Status: Monitor connection status and synchronization

- User Management: Control access and permissions for multi-user environments

- Backup and Restore: Protect and recover your valuable data

#### Well Network Overview

- Network Statistics: Total wells, active monitoring, data coverage

- Quality Control: Visual indicators for data validation status

- Geographic Coverage: Understand spatial distribution of monitoring network

- Filter and Search: Find specific wells or groups quickly

### Common Workflows

- Network Assessment: Use map view to understand monitoring coverage

- Data Quality Review: Identify wells needing attention through visual indicators

- Database Switching: Change between local and collaborative databases

- Well Management: Add, edit, or remove monitoring locations

## 🌡️ Barologger Tab

### Purpose

Import, process, and manage atmospheric pressure data for accurate water level calculations.

### Key Features

#### Data Import and Processing

- XLE File Import: Direct import of Solinst barologger files

- Batch Processing: Handle multiple files simultaneously

- Automatic Quality Control: Flag questionable readings and gaps

- Data Validation: Verify pressure ranges and temporal consistency

#### Master Barometric Data Creation

- Multi-logger Synthesis: Combine data from multiple atmospheric pressure loggers

- Gap Filling: Intelligent interpolation for missing data periods

- Quality Weighting: Prioritize high-quality data sources

- Temporal Alignment: Synchronize readings across different loggers

#### Visualization and Analysis

- Pressure Plots: Time series visualization of atmospheric pressure

- Temperature Correlation: Understand environmental influences

- Data Coverage: Identify periods with complete atmospheric correction

- Export Options: Share barometric data with collaborators

### Common Workflows

- Initial Setup: Import barologger data before processing water levels

- Quality Control: Review and validate atmospheric pressure readings

- Master Creation: Generate composite barometric record for site

- Ongoing Maintenance: Update barometric data as new files become available

## 💧 Water Level Tab

### Purpose

Core functionality for water level data import, processing, analysis, and visualization.

### Key Features

#### Data Import Capabilities

- XLE File Processing: Native support for Solinst transducer files

- Manual Reading Integration: Combine automated and field measurements

- CSV Import: Handle data from various sources and formats

- Telemetry Integration: Real-time data from MONET and similar systems

#### Data Processing Pipeline

- Barometric Compensation: Remove atmospheric pressure effects automatically

- Quality Control Algorithms: Identify and flag anomalous readings

- Calibration Management: Apply sensor-specific corrections and adjustments

- Data Validation: Multi-level verification of data integrity

#### Visualization and Analysis

- Time Series Plots: Interactive water level and depth-to-water charts

- Multi-well Comparisons: Overlay data from multiple monitoring points

- Statistical Summaries: Calculate trends, means, and variability

- Export Tools: Generate publication-ready graphics and data files

#### Manual Reading Integration

- Field Data Entry: Input water level measurements taken with tapes/meters

- Tape Correction: Apply instrument-specific corrections automatically

- Data Reconciliation: Compare manual and automated measurements

- Quality Assurance: Flag discrepancies for review

### Common Workflows

- Data Import: Process XLE files with automatic quality control

- Barometric Correction: Apply atmospheric pressure compensation

- Quality Review: Validate imported data and flag issues

- Analysis and Visualization: Create plots and calculate statistics

- Export and Reporting: Generate data products for stakeholders

## 📊 Recharge Tab

### Purpose

Calculate groundwater recharge rates using multiple scientific methods and analyze results.

### Key Features

#### Calculation Methods

- RISE Method: Water table fluctuation approach

  - Event identification and quantification

  - Specific yield parameter configuration

  - Seasonal and annual recharge estimation

- MRC Method: Master recession curve analysis

  - Recession curve fitting and parameterization

  - Base flow separation techniques

  - Long-term recharge trend analysis

- ERC Method: Enhanced recharge calculation

  - Multi-parameter optimization

  - Uncertainty quantification

  - Advanced statistical analysis

#### Parameter Configuration

- Method-specific Settings: Customize calculations for local conditions

- Sensitivity Analysis: Understand parameter influence on results

- Validation Tools: Compare results across different approaches

- Expert Review: Manual override capabilities for complex situations

#### Results Visualization

- Recharge Time Series: Visualize temporal patterns in groundwater recharge

- Statistical Summaries: Annual totals, seasonal patterns, extreme events

- Comparison Plots: Evaluate different calculation methods

- Export Capabilities: Share results in multiple formats

### Common Workflows

- Method Selection: Choose appropriate recharge calculation approach

- Parameter Configuration: Set method-specific parameters for local conditions

- Calculation Execution: Run recharge analysis on processed water level data

- Results Validation: Compare methods and validate against known conditions

- Reporting: Generate recharge estimates and uncertainty assessments

## 🏃 Water Level Runs Tab

### Purpose

Manage field monitoring campaigns and track data collection progress across multiple wells.

### Key Features

#### Run Management

- Campaign Creation: Define monitoring objectives and well selection

- Progress Tracking: Monitor data collection status across network

- Team Coordination: Assign responsibilities and track completion

- Quality Assurance: Verify data collection standards and procedures

#### Well Selection and Prioritization

- Network Optimization: Select wells for maximum information value

- Logistical Planning: Optimize field routes and schedules

- Equipment Management: Track transducer deployments and retrievals

- Data Integration: Combine run data with ongoing monitoring

#### Monitoring and Reporting

- Real-time Status: Track field work progress and completion

- Data Validation: Verify collected data meets quality standards

- Report Generation: Summarize monitoring campaign results

- Archive Management: Store and organize historical monitoring data

### Common Workflows

- Campaign Planning: Define objectives and select monitoring wells

- Field Coordination: Organize teams and equipment for data collection

- Progress Monitoring: Track completion status and data quality

- Data Integration: Incorporate run data into ongoing analysis

- Campaign Review: Evaluate success and plan future monitoring

## Navigation and Integration

### Cross-Tab Functionality

- Data Flow: Information flows seamlessly between tabs

- Integrated Analysis: Use data from multiple tabs in calculations

- Consistent Interface: Common design patterns across all tabs

- Context Preservation: Maintain selections and settings between tabs

### Efficiency Tips

- Keyboard Shortcuts: Speed up common operations

- Batch Operations: Process multiple files simultaneously

- Auto-save: Preserve work automatically during long operations

- Progress Indicators: Monitor lengthy calculations and imports

### Help and Support

- Context-sensitive Help: Get specific guidance for each tab

- Tool Tips: Hover information for buttons and fields

- Status Messages: Receive feedback on operations and results

- Error Handling: Clear messages and recovery options

Next Steps: Continue to Data Workflows to understand how data moves through the system and how to optimize your analysis procedures.